## Slide 1
TEAM, MBA Business Analytics (Batch 1 )
Mohit Rawat, Taranveer Singh Sudan, Anurag Malgaya, Sanya Gupta, Shivangi Jaiswal, Hitansh Garg
Energy Load Forecasting: Actionable ML for TATA Power
Objective: Build a data-driven model to identify key patterns, improve forecasting, and support better business decisions.

## Slide 2
Problem Statement
Tata Power needed deeper visibility into load behavior, renewable integration, and EV adoption impact.
No unified data-driven mechanism to forecast demand variations across residential consumers.
Increasing solar penetration and electrification (EVs, appliances) required forecasting models.
Voltage fluctuations during peak load periods needed diagnostic insights.

## Slide 3
Dataset Overview
Net Residential Load (MW)
Temperature profiles
Grid Voltage readings (V)
Timestamp-level consumption data
EV Charging Load (kW)
Solar Irradiance Data
Appliance saturation indicators

## Slide 4
KPIs categorized for Tata Power operations:
Renewable & Solar KPIs
Load & Demand KPIs
Grid Stability & Voltage KPIs
EV Charging Impact KPIs
Appliance & Behavioral KPIs

## Slide 5
Average Net Residential Load (MW)
Peak Load Demand (MW)
Daily Load Variation (%)
Load Factor (%)
Weekend vs Weekday Load Difference (%)
Load & Demand KPIs

## Slide 6
Removed duplicate smart-meter readings
Treated missing values in Net Load, Voltage, Solar Irradiance
Applied interpolation for time-series gaps
Data Cleaning Summary
Corrected EV charging spikes
Removed solar irradiance anomalies (cloudy periods)
Fixed voltage dips outside permissible limits
Aligned Load, Solar, EV Load, Voltage on a common timeline
Removed inconsistent / partial records
Converted timestamps to proper datetime index
Resampled data to uniform intervals (hourly / 15-min)
Standardized units (kW → MW, voltage normalization)
Result: Clean, consistent, time-aligned dataset ready for modeling.
Duplicate & Missing Data Handling
Data Type & Format Fixing
Feature Alignment
Outlier & Spike Correction

## Slide 7
EDA Summary
Clear weekday vs weekend consumption difference
Temperature shows strong influence on load
Solar generation reduces net load during daytime
Checked for duplicate rows
Identified and treated null values in key fields
Ensured consistent timestamp continuity
High correlation: Temperature ↔ Load
Negative correlation: Solar irradiance ↔ Net Load
EV load contributes significantly to evening peak
Load values show evening peak behavior
EV load highly skewed toward night hours
Solar irradiance follows expected daytime curve
Data Quality Checks
Distribution Analysis
Correlation Analysis
Trend & Pattern Insights

## Slide 8
Target Variable Creation
Total Load (Target Variable) | Created using: Grid Load, Solar Generation, EV Charging Load
Supporting Input Columns Used | Timestamp (converted to datetime index) Grid Load / Total Load Solar Irradiance / Solar Generation EV Charging Load Temperature Voltage Readings
Derived Feature Columns Initiated | Load Factor, Daily Load Variation, EV Load Share, Voltage Deviation, Weekend/Weekday Flag, Hour of Day, Day Type Indicator

## Slide 9
Performance Metrics
RMSE, MAE, MAPE used for model accuracy
Compared baseline vs advanced models for best forecast reliability
Data Scaling & Normalization
Applied StandardScaler / MinMaxScaler for load, EV, solar, and voltage features
Ensured normalized ranges for improved model stability & training speed
Modeling Approach Overview
Train–Test Split
Time-based split (no shuffling) to preserve sequence
Typical split: 80% Train, 20% Test
Model Validation Strategy
Used Time-Series Cross-Validation / Rolling Window Validation
Evaluated models on unseen future intervals to avoid leakage

## Slide 10
Model Performance & Key Insights
Achieved strong forecasting accuracy with low RMSE & MAE Advanced models
outperformed baseline linear models, especially during peak hours
Model accurately captured evening peak demand
EV charging load was identified as a major contributor to peak spikes
High positive correlation: Temperature ↔ Load (cooling usage)
Weekday loads were consistently higher than weekend consumption
Clear reduction in net load during high solar irradiance periods
Solar generation creates a strong daytime dip in grid dependency
Model Accuracy
Peak Load Prediction
Solar Impact Insight
Temperature & Behavior Effects

## Slide 11
The most influential factors impacting the target variable include temperature, solar irradiance, EV charging load, and time-of-day patterns.
Key Insights From the Analysis
Features such as lag values, rolling averages, and derived load ratios improved model forecasting performance.
Top Drivers Identified
Time-Based Performance Shifts
Business-Critical Anomalies Detected
Engineered Features Boosted Accuracy
Significant load variations observed during evening peaks, weekends, and high-temperature periods.
Unexpected spikes in EV charging and voltage dips highlight areas requiring operational attention.

## Slide 12
Final Recommendations
Solar Energy Optimization
EV Charging Load Control
Grid Stability Improvements
Advanced Forecasting Integration
Peak Load Management
Introduce targeted Demand Response Programs during evening peaks, especially for EV-heavy clusters.
Introduce targeted Demand Response Programs during evening peaks, especially for EV-heavy clusters.
Encourage off-peak EV charging through pricing incentives Deploy smart EV chargers to smooth sudden load spikes
Reinforce feeders in high-load zones with frequent voltage dips Implement voltage regulation devices (AVRs / capacitors)
Use the model in real-time operations for day-ahead & hour-ahead load planning Helps reduce grid stress and improves supply reliability
1
2
3
4
5